## Overview
Project Overview
Basic project information, building profile, energy type, and high-level operating conditions. Units follow ASHRAE inch-pound (I-P) conventions.
Project Information
Project Name
Project Address
Project Contact
Project Description and Energy Profile
Building Type | Data Center□ ; Office Building□; Hotel□; Hospital□; Shopping Mall□; Commercial Complex□; Airport or High-speed Rail Station□; Pharmaceutical Plant□; Winery, Distillery, or Tobacco Plant□; Photovoltaic Plant; Other□;
Mechanical Room Completion Year
Building Area (ft²) |  | Design Cooling Load [Btu/(h·ft²)]
Conditioned Area (ft²) |  | Design Heating Load [Btu/(h·ft²)]
| Operating Months | Daily Operating Hours | Units Operating at
|  |  | High Load | Medium Load | Low Load
Cooling
Heating
| Electricity | Natural Gas | Steam | Other
Cooling | □ | □ | □ | □
Heating | □ | □ | □ | □
Energy Unit Price | ____/kWh | ____/therms | ____/1000 lb
Annual Energy Consumption | ____kWh | ____therms | ____1000 lb
Annual Cooling Cost
Annual Heating Cost

## Operating Load Profile
Operating Load Profile
| Months | Daily Operating Hours | Chiller |  | Condenser Water Pump | Chilled Water Pump |  | Cooling Tower
[6 empty] | (Primary) | (Secondary)
|  |  | Type | Quantity | Quantity | Quantity | Quantity | Quantity
High Load
Medium Load
Low Load

## Equipment
Chillers
Chiller Type ID | Screw / Centrifugal / Absorption | Cooling Capacity (tons) | Rated Energy Consumption (kW) | Quantity
Chiller Water Pumps
(Primary Pump) Chilled Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity | VFD? If VFD, provide operating frequency
1#
2#
3#
(Secondary Pump) Chilled Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity | VFD? If VFD, provide operating frequency
1#
2#
3#
Condenser Water Pumps
Condenser Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity | VFD? If VFD, provide operating frequency
1#
2#
3#
Hot Water Pumps
(Primary Pump) Hot Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity
1#
2#
3#
(Secondary Pump) Hot Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity | VFD? If VFD, provide operating frequency
1#
2#
3#
Cooling Towers
Cooling Tower Type ID | Configuration | Configuration | Quantity | Flow Rate (gpm) | Power (kW) | VFD? If VFD, provide operating frequency
| Counterflow Tower / Crossflow Tower | Shape
1# |  | Square ; Round□ ;
2# |  | Square□ ; Round□ ;
3# |  | Square□ ; Round□ ;
Boilers
Boiler Model | Boiler Type | Rated Heating Capacity (Btu/h) | Fuel | Quantity
Plate Heat Exchangers
Plate Heat Exchanger Type ID | Pressure (psi) (primary side, secondary side) | Flow Rate (gpm) (primary side, secondary side) | Supply/Return Water Temperature (primary side, secondary side) | Quantity
1#
2#
3#
HVAC Terminal Equipment
Terminal Equipment | Type | Motor Power (kW) | Quantity | Motorized Valve? | VFD? If VFD, provide operating frequency | Valve Diameter (in.)
1# | Fan Coil Unit□ ; Air Handling Unit (AHU); Pre-cooling Air Unit (PAU)□ ; Make-up Air Unit (MAU) ; Variable Air Volume System (VAV) ;
2# | Fan Coil Unit□ ; Air Handling Unit (AHU)□ ; Pre-cooling Air Unit (PAU)□ ; Recirculating Air Unit (RCU)□ ; Variable Air Volume System (VAV) ;
3# | Fan Coil Unit□ ; Air Handling Unit (AHU)□ ; Pre-cooling Air Unit (PAU)□ ; Recirculating Air Unit (RCU)□ ; Variable Air Volume System (VAV) ;
4# | Fan Coil Unit□ ; Air Handling Unit (AHU)□ ; Pre-cooling Air Unit (PAU)□ ; Recirculating Air Unit (RCU)□ ; Variable Air Volume System (VAV) ;
5# | Fan Coil Unit□ ; Air Handling Unit (AHU)□ ; Pre-cooling Air Unit (PAU)□ ; Recirculating Air Unit (RCU)□ ; Variable Air Volume System (VAV) ;

## Detailed Parameters
Chiller Detailed Information
Chiller Type
Rated Chilled Water Flow (gpm) |  | Rated Chilled Water Temperature Difference (°F)
Rated Condenser Water Flow (gpm) |  | Rated Condenser Water Temperature Difference (°F)
Evaporator |  | Condenser
Chilled Water Leaving Temperature Setpoint (°F) |  | Condenser Water Leaving Temperature (°F)
Actual Chilled Water Leaving Temperature (°F) |  | Condenser Water Return Temperature (°F)
Actual Chilled Water Return Temperature (°F)
Evaporator Saturation Temperature (°F) |  | Condenser Saturation Temperature (°F)
Average Chiller Load Percentage
Actual Chiller Operating Current (A)
Chilled Water Pump Detailed Information
No. | Item | Description
1 | Are more chilled water pumps operating than chillers?
2 | Required differential pressure between supply and return headers (psi) | <7 psi □
7-15 psi □
15-22 psi □
>22 psi □
Actual pressure differential between supply and return headers (psi)
3 | Chiller chilled water inlet/outlet pressure differential (psi) | <15 psi □
15-22 psi □
>22 psi □
Actual chiller chilled water pressure differential (psi)
4 | Pump ID | Actual Current (A) | Actual Pump Delivery Pressure Differential (psi)
1#
2#
3#
5 | Total number of branches from supply/return headers
6 | Control Method (Check Manual Control, otherwise describe control logic) | Manual Control | Differential Pressure Control | Temperature Difference Control
□
Condenser Water Pump Detailed Information
No. | Item | Description
1 | Are more condenser water pumps operating than chillers?
2 | Required differential pressure between supply and return headers (psi) | <7 psi □
7-15 psi □
15-22 psi □
>22 psi □
Actual pressure differential between supply and return headers (psi)
3 | Condenser water inlet/outlet pressure differential (psi) | <15 psi □
15-22 psi □
>22 psi □
Actual chiller condenser water pressure differential (psi)
4 | Pump ID | Actual Current (A) | Actual Pump Delivery Pressure Differential (psi)
1#
2#
3#
5 | Total number of branches from supply/return headers
6 | Control Method (Check Manual Control, otherwise describe control logic) | Manual Control | Differential Pressure Control | Temperature Difference Control
□
Hot Water Pump Detailed Information
No. | Item | Description
1 | Are more hot water pumps operating than boilers?
2 | Required differential pressure between supply and return headers (psi) | <7 psi □
7-15 psi □
15-22 psi □
>22 psi □
Actual pressure differential between supply and return headers (psi)
3 | Boiler hot water inlet/outlet pressure differential (psi) | <15 psi □
15-22 psi □
>22 psi □
Actual boiler hot water pressure differential (psi)
4 | Pump ID | Actual Current (A) | Actual Pump Delivery Pressure Differential (psi)
1#
2#
3#
5 | Total number of branches from supply/return headers
6 | Control Method (Check Manual Control, otherwise describe control logic) | Manual Control | Differential Pressure Control | Temperature Difference Control
□
Cooling Tower Detailed Information
No. | Item | Description
1 | Main Pipe Diameter (in.)
Number of Branch Pipes from Main Pipe
Branch Pipe Diameter (in.)
| Is there significant uneven water distribution? | Yes □ | No□
| Are there supply risers on both sides? | Yes □ | No□
Cooling Tower Supply Pipe Diameter (in.)
2 | Cooling Tower Temperature Difference (°F)
Cooling Tower Outlet Water Temperature at Peak Load (°F)
| Is additional water or ice added? | Yes□ | No□
3 | Distance Between Fill Sheets (in.)
4 | Cooling Tower Operating Sequence | When 1 chiller is on, run _____ cooling tower(s)
When 2 chillers are on, run _____ cooling tower(s)
When 3 chillers are on, run _____ cooling tower(s)
5 | Cooling tower location and distance from mechanical room (one way: ft) | <165 ft □
| Cooling tower location and distance from mechanical room (one way: ft) | 165-330 ft □
| Cooling tower location and distance from mechanical room (one way: ft) | 330-490 ft □
Boiler
Boiler Type
Rated hot water flow (gpm) |  | Rated hot water delta T (°F)
Rated hot water entering temp (°F) |  | Rated hot water leaving temp (°F)

## Historical Data
Please provide historical operating data for the past 12 months at 15-minute resolution as data files (CSV preferred), rather than filling it into this form.
System | Point / Measurement | Notes
Condenser Water | Cooling tower operating status
Cooling tower inlet/outlet water temperature
Cooling tower flow rate
Cooling tower fan frequency
Cooling tower fan power and cumulative electricity consumption
Condenser water header flow rate
Condenser water header inlet/outlet temperature
Condenser water pump operating status
Condenser water pump frequency
Condenser water pump power and cumulative electricity consumption
Condenser water pump inlet/outlet pressure
Outdoor temperature/humidity and wet-bulb temperature (please specify sensor location)
Chilled Water | Chiller operating status
Chiller leaving water temperature setpoint
Chiller chilled water and condenser water flow rates
Chiller chilled water and condenser water supply/return temperatures
Chiller power and cumulative electricity consumption
Chiller cooling capacity and COP
Total chilled water flow rate
Chilled water header supply temperature
Chilled water header return temperature
Chilled water pump operating status
Chilled water pump frequency
Chilled water pump power and cumulative electricity consumption
Chilled water pump inlet/outlet pressure
Boilers | Boiler operating status
Boiler leaving water temperature setpoint
Boiler inlet/outlet water temperature
Boiler real-time gas consumption and cumulative gas consumption
Hot water flow rate (primary side, secondary side)
Hot water pump frequency (primary side, secondary side)
Hot water pump inlet/outlet pressure (primary side, secondary side)
Hot water pump power and cumulative electricity consumption (primary side, secondary side)
Hot water header supply/return temperature
Terminal | AHU inlet/outlet water temperature
AHU water valve position and water flow rate
AHU supply/return air temperature
AHU damper position and air flow rate
VAV damper position and air flow rate
VAV supply/return air temperature
Indoor temperature/humidity (please specify sensor location)

## Other Docs
Please provide historical operating data as files rather than filling it into this form.
Category | Requested Item | Priority | Provided? | Notes
Drawings | Schematic diagram of cooling/heating source system | Important
| Air-side and water-side system floor plans | Important
| HVAC system design narrative and automatic control system design narrative | Important
| Power distribution drawings | Important
Equipment List | Mechanical room equipment inventory | Important
| Terminal equipment inventory | Important
Energy Data | Annual energy consumption data list for the central HVAC system | Important
| Annual energy consumption data list for terminal equipment | Important
BAS System | Vendor name and communication protocol type | Important
| Point list including communication IP addresses | Important
Historical Operating Data | Past one year of historical data at 15-minute resolution | Important